## Offshore Floating
2023 Floating Offshore Wind Farm
https://guidetofloatingoffshorewind.com/wind-farm-costs/
Category | Rounded cost | Unit | Variable | Variable Cost |  | Parameter | Data
Development and project management | 146150 | £/MW | F | 146150 |  | Wind farm rating (MW) | 450
Development and consenting services | 68000 | £/MW |  | 0 |  | Wind turbine rating (MW) | 15
Environmental impact assessments | 10000 | £/MW |  | 0 |  | Water depth at site (m) | 100
Development activities and other consenting services | 58000 | £/MW |  | 0 |  | Annual mean wind speed at 100m height (m/s) | 10
Environmental surveys | 8800 | £/MW |  | 0 |  | Distance from offshore substation to shore (km) | 60
Offshore species and habitat surveys | 7000 | £/MW |  | 0 |  | Date of financial investment decision to proceed (FID) | 2025
Onshore environmental surveys | 1100 | £/MW |  | 0 |  | First operation date | 2028
Human impact studies | 700 | £/MW |  | 0
Resource and metocean assessment | 6650 | £/MW |  | 0
Structure | 3300 | £/MW |  | 0
Sensors | 2700 | £/MW |  | 0
Maintenance | 650 | £/MW |  | 0
Geological and hydrographical surveys | 8900 | £/MW |  | 0
Geophysical surveys | 2400 | £/MW |  | 0
Geotechnical surveys | 4700 | £/MW |  | 0
Hydrographic surveys | 1800 | £/MW |  | 0
Engineering and consultancy | 8800 | £/MW |  | 0
Project management | 45000 | £/MW |  | 0
Wind turbine | 1340000 | £/MW | T | 0 | Related to Turbine Rating
Nacelle | 760000 | £/MW |  | 0
Rotor | 370000 | £/MW |  | 0
Tower | 210000 | £/MW |  | 0
Balance of plant | 1685700 | £/MW |  | 0
Array cable | 71000 | £/MW | F | 71000
Export cable | 200000 | £/MW | T | 0 | Related to Distance to Shore
Cable accessories | 44400 | £/MW | F | 44400
Interface | 8900 | £/MW |  | 0
Cable protection | 17000 | £/MW |  | 0
Buoyancy | 5500 | £/MW |  | 0
Connectors and joints | 13000 | £/MW |  | 0
Floating substructure | 963000 | £/MW | F | 963000
Structure | 790000 | £/MW |  | 0
Secondary steel | 67000 | £/MW |  | 0
Systems | 58000 | £/MW |  | 0
Corrosion protection | 48000 | £/MW |  | 0
Mooring systems | 176800 | £/MW | F | 176800
Anchor systems | 38000 | £/MW |  | 0
Mooring lines and chains | 110000 | £/MW |  | 0
Jewellery | 19000 | £/MW |  | 0
Topside connection | 6700 | £/MW |  | 0
Installation aids | 3100 | £/MW |  | 0
Offshore substation | 149500 | £/MW | F | 149500
HVAC electrical system | 45000 | £/MW |  | 0
Auxiliary systems | 7500 | £/MW |  | 0
Topside structure | 70000 | £/MW |  | 0
Foundation | 27000 | £/MW |  | 0
Onshore substation | 81000 | £/MW | F | 81000
Electrical system | 57000 | £/MW |  | 0
Buildings, access and security | 24000 | £/MW |  | 0
Installation and commissioning | 369900 | £/MW |  | 0
Inbound transport | 8700 | £/MW | F | 8700
Offshore cable installation | 140700 | £/MW | T | 0 | Related to Distance to Shore
Export cable installation | 46000 | £/MW |  | 0
Array cable installation | 74000 | £/MW |  | 0
Cable pull-in | 11000 | £/MW |  | 0
Electrical testing and termination | 9700 | £/MW |  | 0
Mooring and anchoring pre-installation | 68000 | £/MW | F | 68000
Floating substructure - turbine assembly | 67600 | £/MW | F | 67600
Heavy lifting and moving equipment | 28000 | £/MW |  | 0
Technician services | 4700 | £/MW |  | 0
Marshalling port | 30000 | £/MW |  | 0
Other | 4900 | £/MW |  | 0
Floating substructure - turbine installation | 53000 | £/MW | F | 53000
Offshore substation installation | 24000 | £/MW | F | 24000
Onshore export cable installation | 5700 | £/MW | F | 5700
Offshore logistics | 2200 | £/MW | F | 2200
Sea-based support | 1400 | £/MW |  | 0
Marine coordination | 450 | £/MW |  | 0
Weather forecasting and metocean data | 150 | £/MW |  | 0
Marine safety and rescue | 200 | £/MW |  | 0
Operations and maintenance (per annum) | 71050 | £/MW | F | 71050
Operations | 24000 | £/MW |  | 0
Operations control centre | 1200 | £/MW |  | 0
Training | 2400 | £/MW |  | 0
Onshore logistics | 1200 | £/MW |  | 0
Technical resource (onshore and offshore) | 6000 | £/MW |  | 0
Admin and support staff (onshore) | 7200 | £/MW |  | 0
Insurance | 6000 | £/MW |  | 0
Maintenance | 44450 | £/MW |  | 0
Turbine maintenance | 31000 | £/MW |  | 0
Balance of plant maintenance | 13000 | £/MW |  | 0
Statutory inspections | 450 | £/MW |  | 0
Offshore logistics and vessels | 2200 | £/MW |  | 0
O&M port | 400 | £/MW |  | 0
Decommissioning | 150000 | £/MW | F | 150000
Floating substructure - turbine decommissioning | 7000 | £/MW |  | 0
Mooring and anchoring decommissioning | 40000 | £/MW |  | 0
Cable decommissioning | 73000 | £/MW |  | 0
Substation decommissioning | 26000 | £/MW |  | 0
Contingency and insurance | 270000 | £/MW | F | 270000
TOTAL | 4032800

## Offshore Fixed
2019 Offshore Wind Farm
https://guidetoanoffshorewindfarm.com/wind-farm-costs
Category | Rounded cost | Unit | Variable | Variable Cost |  | Parameter | Data
Development and project management | 117250 | £/MW | F | 117250 |  | Wind farm rating (MW) | 1000
Development and consenting services | 50000 | £/MW |  | 0 |  | Wind turbine rating (MW) | 10
Environmental impact assessments | 8000 | £/MW |  | 0 |  | Water depth at site (m) | 30
Other (includes developer staff hours and other subcontract work) | 42000 | £/MW |  | 0 |  | Annual mean wind speed at 100m height (m/s) | 10
Environmental surveys | 3750 | £/MW |  | 0 |  | Distance to shore, grid, port (km) | 60
Benthic environmental surveys | 450 | £/MW |  | 0 |  | Date of financial investment decision to proceed (FID) | 2019
Fish and shellfish surveys | 400 | £/MW |  | 0 |  | First operation date | 2022
Ornithological environmental surveys | 1000 | £/MW |  | 0
Marine mammal environmental surveys | 1000 | £/MW |  | 0
Onshore environmental surveys | 550 | £/MW |  | 0
Human impact studies | 350 | £/MW |  | 0
Resource and metocean assessment | 3000 | £/MW |  | 0
Structure | 3000 | £/MW |  | 0
Sensors | 650 | £/MW |  | 0
Maintenance | 300 | £/MW |  | 0
Geological and hydrological surveys | 2500 | £/MW |  | 0
Geophysical surveys | 700 | £/MW |  | 0
Geotechnical surveys | 2500 | £/MW |  | 0
Hydrographic surveys | 800 | £/MW |  | 0
Engineering and consultancy | 4000 | £/MW |  | 0
Other (includes lost projects that incur development expenditure) | 54000 | £/MW |  | 0
Turbine | 1001000 | £/MW | T | 0 | Related to Turbine Rating
Nacelle | 398000 | £/MW |  | 0
Bedplate | 20000 | £/MW |  | 0
Main bearing | 20000 | £/MW |  | 0
Main shaft | 20000 | £/MW |  | 0
Gearbox | 70000 | £/MW |  | 0
Generator | 100000 | £/MW |  | 0
Power take-off | 70000 | £/MW |  | 0
Control system | 25000 | £/MW |  | 0
Yaw system | 17000 | £/MW |  | 0
Yaw bearing | 7000 | £/MW |  | 0
Nacelle auxiliary systems | 7000 | £/MW |  | 0
Nacelle cover | 10000 | £/MW |  | 0
Small engineering components | 25000 | £/MW |  | 0
Structural fasteners | 7000 | £/MW |  | 0
Rotor | 196000 | £/MW |  | 0
Blades | 130000 | £/MW |  | 0
Hub casting | 15000 | £/MW |  | 0
Blade bearings | 20000 | £/MW |  | 0
Pitch system | 10000 | £/MW |  | 0
Spinner | 2000 | £/MW |  | 0
Rotor auxiliary systems | 4000 | £/MW |  | 0
Fabricated steel components | 8000 | £/MW |  | 0
Structural fasteners | 7000 | £/MW |  | 0
Tower | 67000 | £/MW |  | 0
Steel | 60000 | £/MW |  | 0
Tower internals | 7000 | £/MW |  | 0
Other (includes assembly, wind turbine supplier aspects of installation and commissioning, profit and warranty) | 340000 | £/MW |  | 0
Balance of plant | 605000 | £/MW |  | 0
Cables | 167000 | £/MW | T | 0 | Related to Distance to Shore
Export cable | 130000 | £/MW |  | 0
Array cable | 35000 | £/MW |  | 0
Cable protection | 2000 | £/MW |  | 0
Turbine foundation | 280000 | £/MW | T | 0 | Related to Water Depth, Floor Type | Base Type | Cost
Transition piece and foundation | 250000 | £/MW |  | 0 |  | Monoplie | 250000
Corrosion protection | 20000 | £/MW |  | 0 |  | Jacket | 310000
Scour protection | 10000 | £/MW |  | 0
Offshore substation | 125000 | £/MW | F | 125000
Electrical system | 45000 | £/MW |  | 0
Facilities | 20000 | £/MW |  | 0
Structure | 60000 | £/MW |  | 0
Onshore substation | 30000 | £/MW | F | 30000
Buildings, access and security | 8000 | £/MW |  | 0
Other (includes electrical equipment and systems) | 22000 | £/MW |  | 0
Operations base | 3000 | £/MW | F | 3000
Installation and commissioning | 649800 | £/MW |  | 0
Foundation installation | 100000 | £/MW | F | 100000
Offshore substation installation | 35000 | £/MW | F | 35000
Onshore substation construction | 25000 | £/MW | F | 25000
Onshore export cable installation | 5000 | £/MW | F | 5000
Offshore cable installation | 220000 | £/MW | T | 0 | Related to Distance to Shore
Cable burial | 20000 | £/MW |  | 0
Cable pull-in | 7500 | £/MW |  | 0
Electrical testing and termination | 6500 | £/MW |  | 0
Other (includes cable-laying vessel, survey works, route clearance, cable protection systems | 186000 | £/MW |  | 0
Turbine installation | 50000 | £/MW | F | 50000
Offshore logistics | 2800 | £/MW | F | 2800
Sea-based support | 2500 | £/MW |  | 0
Marine coordination | 850 | £/MW |  | 0
Weather forecasting and metocean data | 300 | £/MW |  | 0
Other (insurance, contingency (spent) and construction project management) | 212000 | £/MW | F | 212000
Operation, maintenance and service (per annum) | 75950 | £/MW | F | 75950
Operations | 24950 | £/MW |  | 0
Training | 500 | £/MW |  | 0
Onshore logistics | 450 | £/MW |  | 0
Offshore logistics | 1600 | £/MW |  | 0
Health and safety inspections | 400 | £/MW |  | 0
Other (insurance, environmental studies and compensation payments) | 22000 | £/MW |  | 0
Maintenance and service | 51000 | £/MW |  | 0
Turbine maintenance and service | 33000 | £/MW |  | 0
Balance of plant maintenance and service | 18000 | £/MW |  | 0
Decommissioning | 325000 | £/MW | F | 325000
Turbine decommissioning | 45000 | £/MW |  | 0
Foundation decommissioning | 75000 | £/MW |  | 0
Cable decommissioning | 140000 | £/MW |  | 0
Substation decommissioning | 65000 | £/MW |  | 0
TOTAL | 2774000

## Onshore
Onshore Wind Farm
Category | Rounded cost | Unit | Variable | Variable Cost |  | Parameter | Data
Development and project management | 74000 | £/MW | F | 74000 |  | Wind farm rating (MW) | 1000
Development and consenting services | 30000 | £/MW |  | 0 |  | Wind turbine rating (MW) | 3
Environmental impact assessments | 4000 | £/MW |  | 0 |  | Annual mean wind speed at 100m height (m/s) | 7.5
Other (includes developer staff hours and other subcontract work) | 26000 | £/MW |  | 0 |  | Date of financial investment decision to proceed (FID) | 2019
Environmental surveys | 5500 | £/MW |  | 0 |  | First operation date | 2022
Onshore environmental surveys | 3500 | £/MW |  | 0
Ornithological, species and habitiat surveys | 1500 |  |  | 0
Human impact studies | 500 | £/MW |  | 0
Geological surveys | 4500 | £/MW |  | 0
Geophysical surveys | 1500 | £/MW |  | 0
Geotechnical surveys | 3000 | £/MW |  | 0
Engineering and consultancy | 4000 | £/MW |  | 0
Other (includes lost projects that incur development expenditure) | 30000 | £/MW |  | 0
Turbine | 740000 | £/MW | T | 0 | Related to Turbine Rating |  |  | 835
Nacelle | 370000 | £/MW |  | 0 |  |  |  | 415
Rotor | 200000 | £/MW |  | 0 |  |  |  | 254
Tower | 100000 | £/MW |  | 0 |  |  |  | 165
Other (includes assembly, wind turbine supplier aspects of installation and commissioning, profit and warranty) | 70000 | £/MW |  | 0
Balance of plant | 155000 | £/MW | F | 155000
Cables | 15000 | £/MW |  | 0
Turbine foundation | 60000 | £/MW |  | 0
Access roads and site preparation | 30000 |  |  | 0
Onshore substation | 50000 | £/MW |  | 0
Buildings, access and security | 15000 | £/MW |  | 0
Other (includes electrical equipment and systems) | 35000 | £/MW |  | 0
Installation and commissioning | 240000 | £/MW | F | 240000
Foundation installation | 30000 | £/MW |  | 0
Onshore substation construction | 20000 | £/MW |  | 0
Cable installation, electrical testing and commissioning | 20000 | £/MW |  | 0
Turbine installation | 50000 | £/MW |  | 0
Other (insurance, contingency (spent) and construction project management) | 120000 | £/MW |  | 0
Operation, maintenance and service (per annum) | 50000 | £/MW | F | 50000
Operations | 20000 | £/MW |  | 0
Training | 500 | £/MW |  | 0
Onshore logistics | 250 | £/MW |  | 0
Health and safety inspections | 250 | £/MW |  | 0
Other (insurance, environmental studies and compensation payments) | 19000 | £/MW |  | 0
Maintenance and service | 30000 | £/MW |  | 0
Turbine maintenance and service | 22000 | £/MW |  | 0
Balance of plant maintenance and service | 8000 | £/MW |  | 0
Decommissioning | 100000 | £/MW | F | 100000
Turbine decommissioning | 30000 | £/MW |  | 0
Foundation decommissioning | 35000 | £/MW |  | 0
Substation decommissioning | 25000 | £/MW |  | 0
Other (includes site restoration) | 10000 | £/MW |  | 0
TOTAL | 1359000

## Cost Model
Parameter | Input | Assumed Average | Variable
Project Name
Total Capacity (MW) |  |  | 1
Wind Farm Type | Onshore |  | 1
Ocean Depth (m) | 100 |  | 1
Distance to Shore (km) | 60 |  | 1
Offshore Floating Case
Sum of Non Variable Values | 2492800
Sum of Turbine Values | 1340000
Sum of Cable Costs (/Km) | 3333.3333 |  | 1 | 340700
Total /MW | 3836133.3333 |  | 1
Grand Total | 0
Offshore Fixed Case
Sum of Non Variable Values | 1326000
Sum of Turbine Values | 1001000
Sum of Turbine Base Values | 310000 |  | 1
Sum of Cable Costs (/Km) | 2783.3333 |  | 1 | 387000
Total /MW | 2639783.3333 |  | 1
Grand Total | 0 |  | 1
Onshore Case
Sum of Non Variable Values | 619000
Sum of Turbine Values | 740000
Total /MW | 1359000 |  | 1
Grand Total | 0 |  | 1
Calculated Cost | 0 |  | 1